## Panel Power CAL
POWER PANEL CALCULATOR
https://nicsaco.com/
NO. | Tag | PID Tag | Description | Power(KW) | 3/1 Phase | Start Mode | SER/STBY | NOR/EMG | Power Factor | Efficiency | Local Box | Active Load | Reactive Load | Remark
1 | PM01 |  | Pump No.1 | 25 | 3PH | SD | SER | NOR | 0.83 | 89 | YES | 25 | 18.88
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
| Voltage(V) |  | Total Active Loads: | 25 | kW |  | Total Electrical Power: | 33.8453 | kVA |  |  | Desired Cos(pi): | 0.96
| 350 |  | Total Process Loads: | 25 | kW |  | Active power: | 28.09 | kW |  |  | Required Capacitor: | 10.69 | kVAR
|  |  | Total General Loads: | 0 | kW |  | Reactive Power: | 18.88 | kVAR
| No. Local Box |  | Total Emergency Loads: | 0 | kW |  | Outcome Power Factor: | 0.83 |  |  |  | Total Capacitor used: | 45 | kVAR
| 1 |  | Outcome Efficiency : | 89 | % |  | Incoming Panel Current: | 55.83 | A |  |  | New Cos(pi):

## CAL (hidden)
[18 empty] | N/A |  |  |  | 1e-05 | 0.7 |  |  | 52 |  |  | 1e-05 | 0.96 | 30
1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | DOL | 1PH | STB | YES | 0.06 | 0.74 | 0.22 | 0.21 | 56 |  |  | 0.1 | 0.95 | 35
2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | SD | 3PH | OPR | NO | 0.09 | 0.74 | 0.31 | 0.29 | 60 |  |  | 0.15 | 0.95 | 53
3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | SSD | SER | NOR |  | 0.12 | 0.75 | 0.44 | 0.42 | 55 |  |  | 0.2 | 0.92 | 48
4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | VSD | STB | EMG |  | 0.18 | 0.75 | 0.61 | 0.58 | 60 |  |  | 0.4 | 0.95 | 63
5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | NO. |  |  |  |  | 0.25 | 0.76 | 0.78 | 0.74 | 64 |  |  | 0.55 | 0.82 | 53
6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | 001-040 | Total 001-040 | #REF! |  | 0.37 | 0.76 | 1.12 | 1.06 | 66 |  |  | 0.75 | 0.97 | 63
7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 2 | 041-080 | Total 041-080 |  |  | 0.55 | 0.8 | 1.74 | 1.65 | 60 |  |  | 1.1 | 0.97 | 63
8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 3 | 081-120 | Total 081-120 |  |  | 0.75 | 0.8 | 2 | 1.9 | 74 | 1.8286 |  | 1.5 | 0.98 | 74
9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 4 | 121-160 | Total 121-160 |  |  | 1.1 | 0.81 | 2.6 | 2.47 | 77 | 2.5456 |  | 2.2 | 0.95 | 65
10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 5 | 161-200 | Total 161-200 |  |  | 1.5 | 0.82 | 3.5 | 3.4 | 78 | 3.385 |  | 3 | 0.98 | 74
11 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 11 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 6 | 201-240 | Total 201-240 |  |  | 2.2 | 0.82 | 5 | 4.8 | 81 | 4.7808 |  | 4 | 0.96 | 80
12 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 7 | 241-280 | Total 241-280 |  |  | 3 | 0.83 | 6.6 | 6.3 | 81 | 6.4408 |  | 5.5 | 0.95 | 82
13 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 13 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 8 | 281-320 | Total 281-320 |  |  | 4 | 0.83 | 8.5 | 8.1 | 82 | 8.483
14 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 14 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 9 | 321-360 | Total 321-360 |  |  | 5.5 | 0.85 | 11.5 | 11 | 83 | 11.2524
15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 10 | 361-400 | Total 361-400 |  |  | 7.5 | 0.85 | 15.5 | 14.8 | 83 | 15.3442
16 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 16 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 11 | 401-440 | Total 401-440 |  |  | 9 | 0.86 | 18.5 | 18.1 | 84 | 18.1
17 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 17 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12 | 441-480 | Total 441-480 |  |  | 11 | 0.86 | 22 | 21 | 87 | 21.2204
18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 13 | 481-520 | Total 481-520 |  |  | 15 | 0.86 | 30 | 28.5 | 87 | 28.937
19 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 19 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 14 | 521-560 | Total 521-560 |  |  | 18.5 | 0.83 | 37 | 35 | 88 | 36.5587
20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 15 | 561-600 | Total 561-600 |  |  | 22 | 0.83 | 44 | 42 | 89 | 42.9867
21 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 21 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 16 | 601-640 | Total 601-640 |  |  | 30 | 0.83 | 60 | 57 | 90 | 57.9669
22 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 22 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 17 | 641-680 | Total 641-680 |  |  | 37 | 0.84 | 72 | 69 | 90 | 70.6414
23 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 23 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 18 | 681-720 | Total 681-720 |  |  | 45 | 0.84 | 85 | 81 | 91 | 84.9711
24 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 24 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 19 | 721-760 | Total 721-760 |  |  | 55 | 0.86 | 105 | 100 | 91 | 101.4384
25 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 25 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 20 | 761-800 | Total 761-800 |  |  | 75 | 0.86 | 138 | 131 | 91 | 138.325
26 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 26 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 90 | 0.86 | 170 | 162 | 92 | 164.1858
27 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 27 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  |  |  | 110 | 0.86 | 205 | 195 | 92 | 200.6715
28 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 28 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 132 | 0.87 | 245 | 233 | 92 | 238.038
29 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 29 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 160 | 0.87 | 300 | 285 | 93 | 285.4284
30 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 30 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 200 | 0.88 | 370 | 352 | 93 | 352.7311
31 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 31 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 220 | 0.88 | 408 | 388 | 93 | 388
32 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 32 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 250 | 0.88 | 460 | 437 | 93 | 440.9139
33 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 33 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 280 | 0.89 | 528 | 502 | 93 | 488.275
34 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 34 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 315 | 0.89 | 584 | 555 | 93 | 549.3093
35 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 35 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 355 | 0.89 | 635 | 605 | 95 | 605
36 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 36 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 400 | 0.9 | 710 | 675 | 96 | 668.2295
37 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 37 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 450 | 0.9 | 805 | 765 | 96 | 751.7582
38 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 38 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 500 | 0.91 | 900 | 855 | 96 | 826.1079
39 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 39 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 560 | 0.91 | 1000 | 950 | 96 | 925.2408
40 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 40 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 630 | 0.91 | 1100 | 1045 | 96 | 1040.8959
41 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | #REF! | #REF! | #REF! |  | #REF! | [5 empty] | 710 | 0.92 | 1260 | 1200 | 96 | 1160.3224 |  | Power(kW) | Effeciency | Cos(pi) | Q(kvar) line
1 | PM01 | 0 | Pump No.1 | 25 | 3PH | SD | SER | NOR | 0.83 | 89 | YES | 25 | 18.88 | 28.09 | 1 | 0 | 25 |  |  |  |  | 800 | 0.92 | 1450 | 1378 | 96 | 1307.4055 | total1 | #REF! | #REF! | #REF! | 0 | 0
2 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 900 | 0.92 | 1610 | 1530 | 96 | 1470.8312 | total2 | #REF! | #REF! | #REF! | 0 | 0
3 | 0 | 0 | 0 | 0 |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | [10 empty] | total3 | #REF! | #REF! | #REF! | 0 | 0
4 | 0 | 0 | 0 | 0 |  | 0 | [7 empty] | 0 | 0 | 0 | 0 | [10 empty] | total4 | #REF! | #REF! | #REF! | 0 | 0
5 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | [10 empty] | total5 | #REF! | #REF! | #REF! | 0 | 0
6 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | [10 empty] | total6 | #REF! | #REF! | #REF! | 0 | 0
7 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | [10 empty] | total7 | #REF! | #REF! | #REF! | 0 | 0
8 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | total8 | #REF! | #REF! | #REF! | 0 | 0
9 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | total9 | #REF! | #REF! | #REF! | 0 | 0
10 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | total10 | #REF! | #REF! | #REF! | 0 | 0
11 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | total11 | #REF! | #REF! | #REF! | 0 | 0
12 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | total12 | #REF! | #REF! | #REF! | 0 | 0
13 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | total13 | #REF! | #REF! | #REF! | 0 | 0
14 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | total14 | #REF! | #REF! | #REF! | 0 | 0
15 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | total15 | #REF! | #REF! | #REF! | 0 | 0
16 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | total16 | #REF! | #REF! | #REF! | 0 | 0
17 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | total17 | #REF! | #REF! | #REF! | 0 | 0
18 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 11 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | total18 | #REF! | #REF! | #REF! | 0 | 0
19 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 12 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | total19 | #REF! | #REF! | #REF! | 0 | 0
20 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 13 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | total20 | #REF! | #REF! | #REF! | 0 | 0
21 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 14 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF! | #DIV/0! | 0 | 0
22 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF! | #REF! | #REF!
23 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 16 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
24 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 17 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
25 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
26 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 19 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
27 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
28 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 21 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
29 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 22 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
30 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 23 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
31 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 24 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
32 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 25 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
33 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 26 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
34 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 27 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
35 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 28 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
36 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 29 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
37 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 30 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
38 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 31 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
39 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 32 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
40 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 33 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
41 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 34 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
42 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 35 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
43 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 36 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
44 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 37 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
45 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 38 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
46 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 39 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
47 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | #REF! | 40 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
48 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
49 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
50 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
51 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
52 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
53 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
54 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
55 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
56 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
57 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
58 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
59 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
60 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
61 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
62 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
63 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
64 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
65 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
66 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
67 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
68 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
69 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
70 | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 25 | [7 empty] | 25 | 18.88 | 28.09 | 1 | 0 | 25
[17 empty] | 0 | g load
1 |  |  |  | 25 | 3PH | SD | SER | NOR | 0.83 | 89 | YES | [5 empty] | 89 | eff
2 |  |  |  | 0 | [10 empty] | LB | EMG | N/A
3 |  |  |  | 0 | [12 empty] | 33.8453 | kva
4 |  |  |  | 0 | [12 empty] | 0.83 | cos
5 |  |  |  | 0 | [12 empty] | 55.83 | a
6 |  |  |  | 0 | [12 empty] | 10.69 | r capacitor | 0.28379 | 8.1929
7 |  |  |  | 0
8 |  |  |  | 0 | [13 empty] | 45
9 |  |  |  | 0
10 |  |  |  | 0
11 |  |  |  | 0
12 |  |  |  | 0
13 |  |  |  | 0
14 |  |  |  | 0
15 |  |  |  | 0
16 |  |  |  | 0
17 |  |  |  | 0
18 |  |  |  | 0
19 |  |  |  | 0
20 |  |  |  | 0
21 |  |  |  | 0
22 |  |  |  | 0
23 |  |  |  | 0
24 |  |  |  | 0
25 |  |  |  | 0
26 |  |  |  | 0
27 |  |  |  | 0
28 |  |  |  | 0
29 |  |  |  | 0
30 |  |  |  | 0
31 |  |  |  | 0
32 |  |  |  | 0
33 |  |  |  | 0
34 |  |  |  | 0
35 |  |  |  | 0
36 |  |  |  | 0
37 |  |  |  | 0
38 |  |  |  | 0
39 |  |  |  | 0
40 |  |  |  | 0
41 |  |  |  | 0
42 |  |  |  | 0
43 |  |  |  | 0
44 |  |  |  | 0
45 |  |  |  | 0
46 |  |  |  | 0
47 |  |  |  | 0
48 |  |  |  | 0
49 |  |  |  | 0
50 |  |  |  | 0
51 |  |  |  | 0
52 |  |  |  | 0
53 |  |  |  | 0
54 |  |  |  | 0
55 |  |  |  | 0
56 |  |  |  | 0
57 |  |  |  | 0
58 |  |  |  | 0
59 |  |  |  | 0
60 |  |  |  | 0
61 |  |  |  | 0
62 |  |  |  | 0
63 |  |  |  | 0
64 |  |  |  | 0
65 |  |  |  | 0
66 |  |  |  | 0
67 |  |  |  | 0
68 |  |  |  | 0
69 |  |  |  | 0
70 |  |  |  | 0